# STANDARD OPERATING PROCEDURE

Title: Cell lysate preparation. Version #: 1; Author: Akhilesh Pandey Lab. Date: 01/15/2016.

# Purpose

The purpose of this document is to describe the preparation of a cell lysate for protein analysis compatible with mass spectrometry analyses.

# Scope

This procedure is used to create a lysate from cell lines.

# Responsibilities

It is the responsibility of person(s) performing this procedure to be familiar with laboratory safety procedures.  The interpretation of results must be done by a person trained in the procedure and familiar with such interpretation.

# Equipment

- Sonicator

- Benchtop Centrifuge

# Reagents

- Guanadine HCL (Sigma-Aldrich; cat. # G3272-500G)

- Dulbecco’s Phosphate-Buffered Saline 1X (DPBS) (Corning; cat. # 21-030-CVR)

- Water: Optima LC/MS-grade (Fisher Scientific; cat. # W6-4)

# Solutions

- 8 M Guanidine HCL Lysis Buffer

  - Add 7.2 g Guanidine HCL to a 15 mL Falcon tube.

  - Add HPLC water to a final volume of 10 mL and mix until Guanidine HCL is fully in solution.

# Procedure

- Prepare for Lysis Procedure.

  - Prepare 8 M Guanidine stock solution as per recipe provided in Solutions Section.

  - Incubate benchtop centrifuge to achieve final temperature of 4°C.

- Remove media from cell culture dish and rinse cells with 10 mL ice-cold DPBS. Repeat for a total of three washes.

- Remove excess DPBS and add 1 mL Lysis Buffer to cell culture dish.

- Use a cell scraper to remove all cells from culture dish surface.

- Harvest cells

  - Transfer cells to falcon tube (falcon tube size dependent upon lysate volume).

  - To lyse cells, using a microtip Sonicator, sonicate cells at 30 W with 3 bursts of 15 sec each. (Sonicator, Fisher Scientific, output control set to “3”).

    - Wipe down probe with HPLC water and ethanol between samples.

    - Cool lysate on ice for ~20 sec between each burst.

  - Clear lysate by centrifugation in refrigerated benchtop centrifuge at 4°C at 12,500 x g at for 15 minutes.

  - Preserve supernatant and discard pellet.

- Store Cells

  - If intended for storage, transfer supernatant to new tube (tube size dependent upon lysate volume).

    - Note: If storing aliquots of a lysate, first transfer the lysate to a fresh tube to ensure homogenous mixing of the lysate before generating aliquots.

  - Store lysates in -80°C.

- Determine Protein Concentration

  - Prior to Step 7, determine initial protein concentration by BCA assay (dilute lysate 1:5 in HPLC water).

  - If lysates are to be used for subsequent processing/experimentation, thaw frozen lysates on ice.

# Referenced Documents

N/A