# STANDARD OPERATING PROCEDURE

Title: Cell lysate preparation. Version #: 1; Author: Paulovich Lab. Date: 5/1/2012.

# Purpose

The purpose of this document is to describe preparation of a cell lysate for protein analysis compatible with mass spectrometry.

# Scope

This procedure may be used to make a lysate from cell lines.

# Responsibilities

It is the responsibility of person(s) performing this procedure to be familiar with laboratory safety procedures.  The interpretation of results must be done by a person trained in the procedure and familiar with such interpretation.

# Equipment

- No specialized equipment used in this protocol.

# Materials

- Urea: Sigma Ultra Cat# U0631

- 1 M Tris (pH8.0): Sigma Cat# T2194

- EDTA: Sigma Cat# E7889

- EGTA: Sigma Cat# E0396

- HPLC water: Fisher Cat# W6-4

- Sigma Phosphatase Cocktail 1 Cat#P2850

- Sigma Phosphatase Cocktail 2 Cat#P5726

# Solutions

- LYSIS BUFFER. MUST BE MADE FRESH DAILY (FINAL: 6M UREA, 25 MM TRIS (PH8), 1 MM EDTA, 1 MM EGTA):

  - 4 Parts 7.5 M Urea (see below)

  - 1 Part  5x Lysis Buffer Stock Solution (see below).

  - Add 1% Sigma phosphatase cocktail 1

  - Add 1% Sigma phosphatase cocktail 2

  - Mix well

- 5X LYSIS BUFFER STOCK SOLUTION. MAY BE MADE IN ADVANCE AND STORED AT ROOM TEMP.

  - To Make 100 mL:

  - 12.5	mL  1M Tris (pH8.0)

  - 1.0 	mL  0.5 M EDTA

  - 1.0  	mL  0.5 M EGTA

  - HPLC water to 100 mL

  - Sterilize with 0.22 um filter.

- 7.5 M UREA. MAKE FRESH DAILY.

  - Add 4.50 g Urea to a 15 mL Falcon tube.

  - Add 6 mL HPLC water and mix until Urea is in solution

  - Add HPLC water to a final volume of 10 mL.

# Procedure

Cell Lysates

- Preparation:

  - Turn on bench-top centrifuge and cool to 4oC (check that appropriate adaptors are in the buckets).

  - Turn on refrigerated micro-centrifuge and cool to 4oC.

  - Turn on Coulter Counter and prime aperture.

  - Thaw Phosphatase inhibitors.

  - Label and pre-cool 50 mL tubes.

  - Label and pre-cool micro-centrifuge tubes.

  - Label and pre-cool Cryo-vials.

  - Make fresh urea lysis buffer- see solution section above.

- Remove media and rinse cells with 10 mL DPBS.

- Harvest ~ two T-175 flasks  by Trypsinization (6 mL / T175 flask or 2 mL / plate)

- Incubate cells at room temperature with occasional mixing until the cells lift from culture surface as seen under the microscope.

- Add 20 mL / flask (or 8 mL / plate) Growth Media (10% FBS) to swamp out the Trypsin

- If needed, use a cell lifter to remove all cells from culture surface.

- Transfer cells to pre-cooled 50 mL tubes.

- Spin cells 180 x g / 8 min. / 4oC, dump supernatant.

- Resuspend and pool cells from the same cell line in 10 mL ice-cold DPBS, remove 50 uL for cell counting by Hemocytometer.

- Add ice-cold DPBS to 50 mL

- Spin cells 180 x g / 8 min. / 4oC.

- Count cell aliquot while cells are spinning. Calculate total cell count.

- Dump supernatant and resuspend cells in 50 mL of ice-cold DPBS.

- Spin cells 180 x g / 8 min. / 4oC.

- Dump supernatant and invert tubes on paper towel ~ 20 sec., tap tubes on paper towels and remove remaining supernatant w/ Kim-Wipe.

- Prepare Lysate buffer (see Solution section above)

  - Lyse at 0.5x10^8 cells / mL

  - Lysate buffer needs to be made fresh just before use.

  - Add phosphatase inhibitors to lysis buffer at 1% just before use.

- Place tube with cell pellet on ice and add lysis buffer to a final concentration of 0.5x10^8 cells / mL.

- Gently resuspend cells in lysis buffer by dragging tube along a microfuge tube rack- do not pipette.

- Sonicate cells 2 x 10 sec. (550 Sonic Dimembrator, Fisher Scientific; knob set to (5)

  - Wipe down probe with water and ethanol between samples.

  - Place lysate on ice for ~10 sec. between sonications.

- Transfer lysate by pipette tip to micro-centrifuge tube, vortex 15 sec., ice 10 min., vortex 15 sec.

- Micro-centrifuge / 20k x g (14K RPM or full speed) / 10 min. / 4oC.

- Transfer supernatant to 1.0 mL cryo-vial (Nunc Cat# 377267).

  - Note: if storing aliquots of a lysate, first transfer the lysate to a fresh micro-centrifuge tube to ensure homogeneous mixing of the lysate before aliquoting.

- Determine initial protein concentration by Bradford or BCA assay (dilute lysate 1:25 in H20).

- Store lysates in liq. N2.

- When all lysates are available for pooling (if necessary), thaw lysates on ice.

- Determine protein concentration by BCA.

- Pool lysates as desired.