# STANDARD OPERATING PROCEDURE

Title: Tissue sample preparation. Version #: 3; Author: PNNL Lab. Date: 07/01/2016.

# Purpose

The purpose of this document is to describe the procedure for tissue sample preparation.

# Scope

This procedure may be used to make lysate from tissue samples.

# Responsibilities

It is the responsibility of person(s) performing this procedure to be familiar with laboratory safety procedures.  The interpretation of results must be done by a person trained in the procedure and familiar with such interpretation.

# Equipment

# Pellet Pestle Cordless Motor (Fisher Scientific, Asheville, NC, Catalog # 12-141-361)

# Tecan GENios Plate Reader (Tecan Boston, Medford, MA)

# Ultrasonic Cleaner (Branson Ultrasonics Corp., Danbury, CT, Catalog # 5510R-DTH)

# Centrifuge 5430R (Eppendorf AG, Hamburg, Germany)

# SpeedVac Concentrator (Thermo Scientific, Rockford, IL, Catalog # SC250EXP)

# Milli-Q Integral Water Purification System (EMD Millipore, Darmstadt, Germany, Catalog # ZRXQ010TO)

# Vortex-genie 2 Lab Mixer (Scientific Industries Inc., Bohemia, NY, Catalog # G-560)

# Materials

# Flat-Top Graduated Microcentrifuge Tubes (Fisher Scientific, Asheville, NC, Catalog # 02-681-268 & 02-681-331 & 02-681-332)

# Internal Threaded Polypropylene Cryogenic Vial (Corning Inc., Corning, NY, Catalog # 430491)

# Reagents

# Pierce BCA Protein Assay Kit (Thermo Scientific, Rockford, IL, Catalog # PI23225)

# Urea, 98+% (Sigma Aldrich, St. Louis, MO, Catalog # U5378)

# Phosphatase Inhibitor Cocktail 2 (Sigma Aldrich, St. Louis, MO, Catalog # P5726)

# Phosphatase Inhibitor Cocktail 3 (Sigma Aldrich, St. Louis, MO, Catalog # P0044)

# Complete Protease Inhibitor Cocktail (Sigma Aldrich, St. Louis, MO, Catalog # 11697498001)

# Sodium Fluoride, ACS reagent >= 99% (Sigma Aldrich, St. Louis, MO, Catalog # 201154)

# Ammonium Bicarbonate, BioUltra >=99.5% (Sigma Aldrich, St. Louis, MO, Catalog # 09830)

# Sodium Chloride, ACS reagent >=99.0% (Sigma Aldrich, St. Louis, MO, Catalog # S9888)

# Solutions

# Lysis Buffer (8M urea or 2.4g/5mL urea)

# 75mM NaCl in 100 mM NH4HCO3 pH 7.8 (to 5 mL)

# 10 mM NaF (100 ul of 2 g/dL stock per 5 mL)

# phosphatase inhibitor cocktail 2 (50ul per 5 mL) and cocktail 3 (50 ul per 5 mL)

# cOmplete (1/2 tablet per 5 mL)

# Procedure

# Chill sample and lysis buffer on ice.

- Add 500 ul lysis buffer to tissue samples.

- Homogenize on an ice block until sample is thoroughly mixed, at least 1 min.

- Vortex on high for 3 min and sonicate in a sonication bath for 3 min

- Remove aliquot for BCA assay

# Referenced Documents

List any publications or documents referenced in the SOP.