# STANDARD OPERATING PROCEDURE

Title: Sample Preparation for Assay Validation to Measure Protein Expression in Cell Lines. Version #: 1; Author: Koomen Lab on behalf of RAS Immuno-MRM Working Group. Date: 5/29/2018.

# Purpose

The purpose of this document is to describe the enzymatic digestion of the pooled background matrix and assembly of samples used for validation assays, including the response curve (CPTAC Experiment 1) and assessment of repeatability (CPTAC Experiment 2).

# Scope

This procedure is used to reduce, alkylate, and digest the proteins in a cell line background matrix for validation of LC-MRM peptide assays. It also covers generation of samples for the response curve and repeatability experiments to assess inter- and intra-assay repeatability.

# Responsibilities

It is the responsibility of person(s) performing this procedure to be familiar with laboratory safety procedures.  The interpretation of results must be done by a person trained in the procedure and familiar with such interpretation.

# Equipment

- Sonic Dismembrator (model 550, Thermo Fisher Scientific)

- Centrifuge for 15 or 50 mL tubes

- Refrigerated Micro-centrifuge

- Vortex Mixer/Shaker

- Positive Pressure Manifold for 96-well plate

- Thermomixer

- Lyophilizer

# Materials

- 1x DPBS (Gibco, Thermo)

- 1.5, 2, and 5 mL Protein LoBind Tubes (Eppendorf, 022431081, 022431102, 0030108302)

- 2 mL polypropylene deep well 96-well plates (Thermo, 95040450)

- Oasis HLB 96-well plate, 5 mg (Waters, 186000309)

- 15 or 50 mL Conical Tubes (Corning, 352096, 352070)

- BCA Protein Assay Kit (Pierce, 23225)

- Pipette Tips (Eppendorf)

- Pipettes

# Reagents

- Urea, (Sigma, U0631)

- 0.5 M TCEP, (Pierce, 77720)

- Iodoacetamide (IAM), (Sigma, A3221-10VL)

- 1 M Tris (pH8.0), (Sigma, T2694)

- EDTA (Sigma, E7889)

- EGTA (Sigma, E0396)

- Sigma Phosphatase Inhibitor Cocktail 2 (Sigma, P5726)

- Sigma Phosphatase Inhibitor Cocktail 3 (Sigma, P0044)

- Lys-C (Endoproteinase Lys-C, Wako No. 129-02541)

- Trypsin, sequencing grade, (Promega, V5113)

- Acetic Acid (Sigma, 242853)

- Formic Acid (EDM, 11670-1)

- Water, HPLC grade (Burdick & Jackson, AH365-4)

- Acetonitrile, HPLC grade (Burdick & Jackson, AH015-4)

- Light and Heavy Peptides, >95% purity, concentration determined by amino acid analysis (New England Peptide)

  - All stable isotope-labeled standards (SIS) were synthesized with labeled 13C and 15N isotopes incorporated at the C-terminal lysine or arginine with corresponding mass shifts of +8 or +10 Da, respectively.

- Cell line pellet with media removed, on ice

# Solutions

- 5x Lysis Buffer Stock Solution. Filter final solution with 0.22 μm filter and store at room temperature.

  - 6.25 mL 1 M Tris (pH 8.0)

  - 0.5 mL 0.5 M EDTA

  - 0.5 mL 0.5 M EGTA

  - 42.75 mL HPLC water

- 7.5 M Urea. Make fresh daily in a 15 mL conical tube.

  - 4.5 g Urea

  - 6 mL HPLC water

  - Mix to dissolve then bring volume up to 10 mL

- Urea Lysis Buffer. Make fresh daily and mix well.

  - Composition is 1:4, 5x lysis buffer: 7.5 M urea, 1% phosphatase inhibitor cocktails 2 & 3.

  - Add 2.5 mL to the 10 mL 7.5 M urea (see above).

  - Add 125 μL of both phosphatase inhibitor cocktail 2 and 3.

- 0.2 M Tris, pH 8.0

  - 4 parts HPLC water

  - 1 part 1 M Tris, pH 8.0

- 0.5 M iodoacetamide (IAM) stock solution. Prepare immediately before use and keep out of light.

  - Add 605 μL 0.2 M Tris (see above) to one 56 mg vial.

  - Mix until dissolved; visually inspect to ensure all is dissolved.

- 0.5 mg/mL Lys-C. Assume 8 mg in 10 AU.

  - Dissolve 10 AU Lys-C in 6 mL of 50 mM acetic acid.

  - Transfer dissolved enzyme to a 50 mL conical tube.

  - Add 10 mL of 50 mM acetic acid.

  - Prepare aliquots and store at -80 oC.

- 0.5 mg/mL Trypsin

  - 100 μg resuspended in 200 μL of 0.2 M Tris pH 8.0

- 20% Formic Acid

  - 1 mL of TFA

  - 4 mL of HPLC water

- 50% acetonitrile, 0.1% formic acid.

  - 250 mL acetonitrile

  - 249.5 mL HPLC water

  - 0.5 mL formic acid

- 0.1% formic acid in water

  - 499.5 mL HPLC water

  - 0.5 mL formic acid

# Procedure

### Background Matrix Digest Sample Preparation

#### Pooled Lysate Formulation

- Begin with cell pellets that have been centrifuged as appropriate for each cell line with growth media removed.

- Label and pre-cool 1.5 micro-centrifuge tubes for cell lysis.

- Wash cell pellets twice with ice cold 1x DPBS.

  - Resuspend pellet by gently pipetting up and down or inverting tube. Centrifuge and discard supernatant.

  - After the second wash, remove all 1x DPBS.  Dried pellets can be stored at -80 oC at this point.

- Place tube with cell pellet on ice and add lysis buffer to a final concentration of 5x107 cells per mL of lysis buffer.

- Resuspend cells in lysis buffer by dragging tube along a microfuge tube rack or tapping gently with one finger. Do not pipette.

- Sonicate cells for 12 sec. (550 Sonic Dimembrator; knob set to 5) and place lysate on ice for ~20 sec. between sonication steps.  Repeat 1 time.

- Wipe down probe with water and ethanol between samples.

- Transfer lysate by pipetting to microcentrifuge tube, vortex for 15 sec.

- Clarify lysates by microcentrifugation (4 oC) for 10 mins at 20,000 x g (or max speed).

- Determine protein concentration of individual lysates using bicinchoninic acid assays (BCA).

- Background matrix digest was formulated by pooling lysates as follows:

| Cell Lysate | Relative contribution to the pooled lysate digest |
| --- | --- |
| MCF10A-MT | 5 |
| T47D | 1.25 |
| CCRF-CEM | 1 |
| COLO205 | 2 |
| COR-L23 | 2.5 |
| H2444 | 3 |
| H2122 | 3 |
| H1792 | 1.25 |
| HEPG2 | 2 |
| K-562 | 1.25 |
| NCI H226 | 3.75 |

#### Background Matrix Digestion

- Dilute pooled lysate to 2 mg/mL with urea lysis buffer.

- Distribute pooled lysate used for the background matrix to a 2 mL deep well 96-well plate for trypsin digestion, with 0.5 mg per well.

- Add 16.5 µL of 0.5 M TCEP to each sample.

- Incubate with mixing at 600 rpm on a thermomixer for 30 min at 37 oC.

- Add 36 µL per sample of 0.5 M IAM (fully dissolved).

- Alkylate in the dark at room temperature for 30 minutes.

- Add 1200 µL of 0.2 M Tris, pH 8.0 to each well to decrease the urea concentration to > 1 M.

- Add 20 µL LysC to each well for a 1:50 enzyme-to-substrate ratio.

- Incubate with mixing at 600 rpm in the thermomixer for 2 hours at 37 oC.

- Add 20 µL of trypsin to each well for a 1:50 enzyme-to-substrate ratio.

- Incubate with mixing at 600 rpm in the thermomixer for 16 hours at 37 oC.

- Add 76.5 µL of 20% formic acid to each well to quench the digestion, resulting in a final concentration of 1% formic acid.

#### Sample Desalting by Positive Pressure

- Desalt the digested peptides on an Oasis HLB 96-well plate (or equivalent solid phase extraction format).

- Condition wells 4 times with 0.4 mL of 0.1% formic acid in 50% acetonitrile.

- Equilibrate the wells 4 times using 0.4 mL of 0.1% formic acid in HPLC water.

- Load each digest into an individual well on the Oasis SPE plate.

- Elute peptides three times with 0.4 mL of 0.1% formic acid in 50% acetonitrile into a new 2 mL deep well 96-well plate.

- Lyophilize the cleaned, eluted peptides and store at -80 oC as a dried powder until ready to use.

#### Experiment 1 – Reverse Response Curve

- Solubilize the lyophilized, desalted peptides from the pooled background matrix by adding 50 µL of 20% acetonitrile with 0.1% formic acid to each well for 15 minutes.

- Transfer the solubilized digest to a new 1.5 mL microcentrifuge tube and dilute with 200 µL of 2% acetonitrile with 0.1% formic acid to a final concentration of 2 mg/mL.

- Dilute each peptide mix (both synthetic “light” and stable isotope-labeled standards) to 1 µM in 20% acetonitrile and 0.1% formic acid.

- Prepare a bulk matrix sample with light peptides spiked in at a constant amount. An aliquot containing 1 µg of total protein digest will be loaded onto the column in each 5 µL injection; therefore, the matrix concentration used in the curves will be 200 ng/µL. The volume should be enough to prepare an 8 point curve plus blanks for triplicate analysis (Note: It is recommended to make at least 25-30 l of each sample to provide for additional injections in case of contingencies).

  - To make 50 µL for each concentration, 1.5 mL total volume is required.

- Dilute the SIS peptide mix to make the following stock solution concentrations: 1 µM, 100 nM, and 20 nM. These will be used to generate the curve in the table below.

| Sample | SIS Spike/ug | DF | Conc (fmol/µL) | Light Spike/µg | Light Conc (fmol/µL) | Expected Ratio |
| --- | --- | --- | --- | --- | --- | --- |
| I | 1000 |  | 200 | 10 | 2 | 100 |
| H | 200 | 5 | 40 | 10 | 2 | 20 |
| G | 40 | 5 | 8 | 10 | 2 | 4 |
| F | 8 | 5 | 1.6 | 10 | 2 | 0.8 |
| E | 2 | 4 | 0.4 | 10 | 2 | 0.2 |
| D | 0.5 | 4 | 0.1 | 10 | 2 | 0.05 |
| C | 0.2 | 2.5 | 0.04 | 10 | 2 | 0.02 |
| B | 0.08 | 2.5 | 0.016 | 10 | 2 | 0.008 |
| A | 0 |  | 0 | 10 |  | 0 |

*Increase the concentrations for peptides with limitations in sensitivity to ensure curves have enough points (>4) to assess assay quality evaluate metrics of interest.

- The SIS peptides are diluted from the stock solutions made into the background matrix to avoid loss to plastic tips and tubes. Make each curve point a 10x solution, with the exception of the top two most concentrated samples.

- Each time a sample is diluted, vortex gently (set to speed 4). Take care not to over mix by high speed vortexing or pipetting repeatedly because this leads to increased sample loss to plastic and may also increase oxidation of susceptible amino acids. Prepare all samples in the protein LoBind tubes to minimize loss.

- Each day, mix 5 µL of the 10x SIS solutions with 45 µL, both of which are spiked into the background matrix digest. Avoid pipetting volumes less than 4 µL.

- The blank sample is prepared by spiking 5 µL of A solvent (2% acetonitrile, 0.1 % formic acid) into the background matrix with light peptide spike.

- Samples are transferred to autosampler vials for LC-MRM analysis, using a separate vial for each day.

#### Experiment 2 – Mini-validation of Assay Repeatability

- Prepare the same background matrix used for the response curve dilutions.

- Prepare samples as described for the response curve with the light peptides spiked at a constant amount and the SIS varied.

  - Prepare 12 fmol/µL light to add 5 µL of light peptide to 25 µL of SIS peptides, both containing 200 ng/µL of background matrix.

- Three concentrations are selected as the high, medium, and low samples, which represented the expected working range of the assay. The following concentrations for the SIS were selected for high, medium, and low repeatability samples: 100, 7.5, and 0.75 fmol/µg.   If peptides have limited sensitivity, selected higher concentrations for the repeatability analysis.

- Prepare a minimum of five aliquots of each of the high medium, and low  samples spiked with a set concentration of light peptides and the different amounts of SIS peptides as well as blank background matrix samples in LoBind tubes.

- Each day (>16-24 hours apart), thaw one of each of the light, high, medium, and low samples. Each aliquot must be a minimum of 20 µL to allow for three 5 µL injections.

- Spike in 5 µL of 12 fmol/µL light into each of the three concentration aliquots (25 µL). Blank samples can also be prepared by spiking the light peptide into matrix containing no SIS peptide.

- Vortex briefly and transfer to a new autosampler vial per sample for LC-MRM analysis.

# Referenced Documents

None.