# STANDARD OPERATING PROCEDURE

Title: Peptide immuno-affinity enrichment for the characterization of linearity and sensitivity of immuno-PRM assays using response curves. Version #: 1; Author: Yiying Zhu. Date: 2023/12.

# Purpose

The purpose of this document is to describe the preparation of reverse response curves for a group of low-abundance peptides

# Scope

This procedure may be used to generate peptide response-curve samples, perform peptide immuno-affinity enrichment, and analyze purified peptides by Parallel Reaction Monitoring (PRM) mass spectrometry.

# Responsibilities

It is the responsibility of person(s) performing this procedure to be familiar with laboratory safety procedures.  The interpretation of results must be done by a person trained in the procedure and familiar with such interpretation.

# Equipment

- HPLC: EASY-nLC II (Thermo Scientific)

- Mass spectrometer: Q Exactive Orbitrap (Thermo Scientific)

# Materials

- Water, Burdick &Jackson® HPLC grade (Fisher)

- Acetonitrile (ACN), OmniSolv® Gradient grade (Fisher)

- Formic acid (FA), Optima® LC-MS grade (Fisher)

- Trifluoroacetic acid (TFA)

- Protein A agarose beads slurry 50 % (Cell Signaling Technology, #9863)

- Stage tip/tube assembly

# Reagents

- Standard peptides: Heavy and light stable isotope-labeled standard peptides (SIS) are synthesized in the peptide lab at Cell Signaling Technology. All peptides are purified by HPLC, and amino acid analysis (AAA) is performed to determine peptide concentrations. Cysteine residues of the peptides are carbamidomethylated. All heavy-SIS are labeled at internal amino acids. The isotope-labeled amino acid positions are shown in “SOP_Liquid Chromatography and PRM mass spectrometry, Easy-nLC II and Q exactive Orbitrap”.

- Antibodies: all monoclonal antibodies used in the immuno-affinity enrichment can be purchased from Cell Signaling Technology.

| Assay | Protein and phosphosite | Peptide and phosphosite (*) | CST Ab# |
| --- | --- | --- | --- |
| 1 | # P31749 · AKT1_HUMAN (S473) | RPHFPQFS*YSASGTA | 4060 |
| 2 | # P06493 · CDK1_HUMAN (Y15) | IGEGTY*GVVYK | 4539 |
| 3 | # Q96B36 · AKTS1_HUMAN (T246) | LNT*SDFQK | 2997 |
| 4 | # P40763 · STAT3_HUMAN (Y705) | YCRPESQEHPEADPGSAAPY*LK | 9145 |
| 5 | P42229 · STA5A_HUMAN (Y694) # P51692 · STA5B_HUMAN (Y699) | AVDGY*VKPQIK | 9314 |
| 6 | # P42226 · STAT6_HUMAN (Y641) | GY*VPATIK | 9364 |
| 7 | # P27361 · MK03_HUMAN (T202/Y204) | IADPEHDHTGFLT*EY*VATR | 4370 |
| 8 | # P28482 · MK01_HUMAN (T185) | VADPDHDHTGFLT*EYVATR | 4370 |
| 9 | # P28482 · MK01_HUMAN (T185) | VADPDHDHTGFLT*EY*VATR | 4370 |
| 10 | P05412 · JUN_HUMAN (S73) # P17535 · JUND_HUMAN (S100) | LAS*PELER | 3270 |

- Matrix: tryptic digest of SKBR3 cells

# Solutions

- 20X Phosphate Buffered Saline (PBS) (CST, #9808)

- 10X Immuno-affinity Purification (IAP) buffer (CST, #9993)

- A heavy-SIS mix with a concentration of 1 pmol/µL per peptide is prepared from the individual heavy peptide stocks using 5 % ACN-0.1 % TFA as a diluent.

- A light-SIS mix with a concentration of 1 pmol/µL per peptide is prepared from the individual light peptide stocks using 5 % ACN-0.1 % TFA as a diluent.

# Procedure

- Antibody coupling and immobilization to protein A beads

- Vortex to mix 50 % Protein A agarose bead slurry. Transfer 620 µL of bead slurry to a microcentrifuge tube.

- Centrifuge at 2000 × g for 20 sec and remove the supernatant.

- Add 1X PBS buffer to the beads, mix by inverting the tube 5 times, centrifuge for 30 sec, and remove the supernatant

- Repeat step three for a total of 4 times PBS buffer washes.

- All subsequent wash steps are at 0-4˚C. In all wash steps, the supernatant should be removed reasonably well. Avoid removing the last few microliters, except in the last step, since this may cause inadvertent carry-over of the beads.

- The last time, after removing the supernatant, resuspend the beads in 1X PBS.

- Mix 155 µg of each antibody with beads. Pipet antibody solutions on top of the beads at the bottom of the tube to ensure immediate mixing. Avoid creating bubbles upon pipetting.

- Fill the microfuge tube with 1X PBS and seal it with parafilm in order to avoid leakage. Incubate overnight on a rotator at 4˚C.

- Wash beads with 1X PBS 4 times. Add 1X IAP buffer to reach a total volume of 620 µL

- Aliquot antibody-bead slurry to 30 microcentrifuge tubes. Each tube contains 20 µL of antibody-bead slurry.

- Preparation of reverse curve

  - Preparation of heavy/light peptide working solutions and cell-matrix

    - Eight points of varying concentrations (fmol per 100 µg of cell lysate proteins) of heavy peptides and 2 blanks are planned (See table below). All are prepared in triplicate.

    - The stock heavy-SIS mix is serially diluted by 5 % ACN-0.1 % TFA with 4-fold serial dilutions, starting from 64 fmol/µL. Light-SIS mix is prepared freshly at 1 fmol/ µL

    - Lyophilized tryptic SKBR3 peptides are diluted into 1 mg/mL by IAP buffer.

|  | Light-SIS (fmol/100 µg) | Heavy-SIS (fmol/100 µg) |
| --- | --- | --- |
| 1 | 10 | 0.039 |
| 2 | 10 | 0.156 |
| 3 | 10 | 0.625 |
| 4 | 10 | 2.5 |
| 5 | 10 | 10 |
| 6 | 10 | 40 |
| 7 | 10 | 160 |
| 8 | 10 | 640 |

  - Immuno-affinity enrichment

- Transfer an aliquot of 100 µL SKBR3 digest (1 mg/mL) to each of the microcentrifuge tubes containing 20 µL antibody-bead slurry.

- Add 10 µL of varied concentration points of heavy-SIS mix to each of the microcentrifuge tubes containing SKBR3 background matrix proteins and protein A bead conjugated antibodies.

- Spike 10 µL of light-SIS mix (1 fmol/ µL) into each tube.

- Pipet sample directly on top of the beads at the bottom of the tube to ensure immediate mixing. Avoid creating bubbles upon pipetting.

- Incubate for 2 hours on a rotator at 4˚C. Before incubation, seal the microfuge tube with parafilm in order to avoid leakage.

- Centrifuge at 2000 × g for 20 sec and remove the supernatant.

- Add IAP buffer to the beads, mix by inverting the tube 5 times, centrifuge for 30 sec, and remove the supernatant.

- Repeat the step once for a total of two IPA buffer washes.

- Add chilled water to the beads, mix by inverting the tube 5 times, centrifuge for 30 sec, and remove the supernatant.

- Repeat two times for a total of three water washes. During the last wash, the tube may need to be shaken while inverting to ensure efficient mixing.

- After the last wash step, remove the supernatant as before, then centrifuge for 5 sec to remove fluid from the tube walls. Carefully remove all remaining supernatant with a gel-loading tip attached to a micropipette.

- Add 20 µL of 1.5 % TFA to the beads, tap the bottom of the tube several times (do not vortex), and let stand at room temperature for 10min, mixing gently every 2-3 min.

- Centrifuge 30 sec at 2000 × g and transfer supernatant

- Add 20 µL of 1.5 % TFA to the beads and repeat the elution/centrifugation steps. Combine both eluents. Briefly centrifuge the eluent to pellet any remaining beads and carefully transfer the eluent to a new microcentrifuge tube, taking care not to transfer any beads.

  - Cleanup by stage tips

  - Pipette 40 L wetting solvent 50 % ACN-0.1 % TFA onto Stage Tip/Tube assembly. Centrifuge 450 × g for 2 min

  - Pipette 60 L wash solvent 0.1 % TFA onto the Stage Tip/Tube assembly. Centrifuge 450 × g for 2 minutes.

  - Pipette samples into Stage Tip. Centrifuge 450 × g for 2 minutes.

  - Pipette 40 µL wash solvent 0.1% TFA onto the Stage Tip/Tube assembly. Centrifuge 450 × g for 2 minutes. Repeat.

  - Place cap/Stage Tip assembly onto a new sample tube.

  - Pipette 20 µL elution solvent 40 % ACN-0.1 % TFA onto the Stage Tip/Tube assembly. Centrifuge 450 × g for 2 minutes. Repeat and combine the eluents.

  - Speed vacuum samples to dryness.

C.   Execution of PRM analysis

- Samples are reconstituted in 10 µL of 0.1% TFA-5% ACN. Sonicate for 1 min and spin down briefly.

- PRM analysis is performed according to “SOP_Liquid Chromatography and PRM mass spectrometry, Easy-nLC II and Q Exactive Orbitrap”. Before analysis, system suitability standard BSA peptides are run to ensure the performance of the LC-MS system. One microliter of light-SIS mix (1 fmol/ µL) is injected into LC-MS to determine the actual retention times of the peptides. Then, washes are performed to remove the remaining peptides on the column.

- A solvent blank (0.1 % FA) is injected to make sure all targeted peptides are removed from the column. Sample blanks are samples with no spike-in-heavy peptides but 10 fmol of light peptides. Samples are run in an order of increasing concentrations of heavy peptides.

| Runs | Samples |
| --- | --- |
|  | Wash |
|  | Wash |
|  | Solvent blank |
| Blank 1 | Sample blank |
| Blank 2 | Sample blank |
| 1 | 0.039 fmol/100 µg |
| 2 | 0.156 fmol/100 µg |
| 3 | 0.625 fmol/100 µg |
| 4 | 2.5 fmol/100 µg |
| 5 | 10 fmol/100 µg |
| 6 | 40 fmol/100 µg |
| 7 | 160 fmol/100 µg |
| 8 | 640 fmol/100 µg |

- Data analysis

Data analysis is done by open-source software Skyline. Raw files are imported into Skyline, and extracted ion chromatograms of all transition ions are integrated. Manually check all peaks of light and heavy peptides to confirm correct integration. https://skyline.ms/project/home/software/skyline/begin.view